# MicroFinancial, Incorporated

# 10-M Commerce Way

# Woburn, MA  01801

# (781) 994-4800

# www.microfinancial.com

Disaster Recovery Guide

| Application - | Disaster Recovery | Last Updated - | December 10, 2007 |
| --- | --- | --- | --- |
| Description - | This document provides information about Microfinancial’s disaster recovery procedures. The content in this document is confidential. |

In This Document . . .

- 1. Environment Overviews

- 2. Disaster Scenario Checklists

  - 2.1 Power Loss

  - 2.2 Network Loss

  - 2.3 System Loss

  - 2.4 Database Loss

  - 2.5 Application Loss

Table of Contents

1. Environment Overviews

This section provides general information about the different product environments in use, including information on how to contact support for each product.

In This Section . . .

- 1.1 Alpha - VAX OpenVMS Environment

- 1.2 Exchange Server Environment

- 1.3 NT Server Environment

- 1.4 Network Server Environment

- 1.5 Print Server Environment

- 1.6 Web Server Environment

- 1.7 App Server Environment

- 1.8 Database Environment

- 1.9 Vendor Support Numbers

## 1.1 Alpha - VAX OpenVMS Environment

In This Section . . .

- 1.1.1 HP support (SMS)

- 1.1.2 Server Overview

- 1.1.3 Applications and Associated Databases

- 1.1.4 OpenVMS Layered Products

### 1.1.1 HP support (SMS)

For support, call 1-781-891-8827

You may need to provide the access and serial numbers:

| Software |
| --- |
| VAX - BLT1, BLT2, BLT6 | OpenVMS version 7.1 | access # 1828517 |
| Alpha - BLT3, BLT4, BLT5 | OpenVMS version 7.2 | access # 750284 |
| Hardware |
| BLT1 | Serial # WF95108623 |
| BLT2 | Serial # KA247BK116 |
| BLT3 | Serial # NI62301FZF |
| BLT4 | Serial # AY01301263 |
| BLT5 | Serial # NI817012NL |
| BLT6 | Serial # KA050D3884 |

### 1.1.2 Server Overview

This table provides information about each of Microfinancial's servers, including where they are located, which Alpha servers work together with which VAX servers, and the kind of tasks each server performs.

|  | VAX (ACMS) | ALPHA |
| --- | --- | --- |
| Production System | BLT6 | BLT4 |
| Test System | BLT1 | BLT3 |
| Backup/hot System | BLT2 | BLT5 |

Notes:

- Batch is run on BLT4.

### 1.1.3 Applications and Associated Databases

| Application | Lease | Appl |
| --- | --- | --- |
| Databases | AR_DATA (LEASE_DATA) TAX_DATA DOCUMENT_DATA PHONE_DATA SCROLL_DATA AMORTIZATION_DATA | APPL_DATA REPORT_DATA TAX_DATA PHONE_DATA ANALYSIS_DATA |

### 1.1.4 VMS Layered Products

The third party products in this table run on both BLT4 & BLT5.

Critical: These NEED to be running!

Oracle Rdb

Oracle SQLservices

PerfectCache

TCPware

Non-Critical: We can survive for a while without these.

GoldFax

CA Masterpiece

Corel WordPerfect

MailStream PLUS

CODE 1 Plus

Monitoring Tools: Not required in disaster mode.

WatchIT

## 1.2 Exchange Server Environment

For Exchange Server support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

The Exchange Servers are located as follows:

Domain: MICROFINANCIAL

Server: MFIMSR01 Server: WOBMSR01 Server: WALMSR01

## 1.4 Network Server Environment

For Network Server support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

The Network Servers are located as follows:

Woburn

WOBDNS1 WALDNS1

WOBRAS01 WOBRAS02 WOBMPS01

MFIDMC01

MFIDMC02

WOBISA01 MFIISA01

Firewall

WOBFW01 WOBFW02

WOBFW03 WALCPF1

VPN

WOBISA01 MFIISA01

## 1.5 Print Server Environment

For Print Server support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

The Print Servers are located as follows:

Woburn

MFIFPS01

## 1.6 Web Server Environment

For Web Server support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

The Web Servers are located as follows:

| Production | backup/spare |
| --- | --- |
| WOBAPP1 WOBWEB01 WOBWEB02 WOBWEBDB01 | WALWEB01 WALWEB02 WALWEB03 WALWEBDB01 |

## 1.7 App Server Environment

For App Server support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

The App Servers are located as follows:

Woburn

WOBRFAX01 MFIAVS01 MFIWIS01 WOBTEL01 (PBX Database)

## 1.8 Database Environment

For Database support, call 1-781-994-4900 or 1-781-994-4870 X2560

Support is available Monday through Friday, 8 AM to 4 PM.

In This Section . . .

- 1.8.1 Database Servers

- 1.8.2 Databases

- 1.8.3 Databases by Live Server

- 1.8.4 “No Activity” Databases

### 1.8.1 Database Servers

| Production |  |
| --- | --- |
|  | BLT4 - Alpha-ES40 |
| Backup/hot |  |
|  | BLT5 - Alpha-4000 5/600 |
| Test |  |
|  | BLT3 - Alpha-8400 5/350 |

### 1.8.2 Databases

| Full Name | Location | Live | Repl |
| --- | --- | --- | --- |
| AR_LEASE_ARCHIVE_DATA | RDB5$DISK0:[LEASE_ARCHIVE_FILES] | BLT4 | BLT5 |
| AR_LEASE_DATA (LEASE_DATA) | RDB1$DISK0:[LEASE_FILES] | BLT4 | BLT5 |
| LEASE_AMORTIZATION_DATA | RDB2$DISK:[LEASE_AMORT_FILES] | BLT4 | BLT5 |
| LEASE_DOCUMENT_DATA | RDB6$DISK0:[LEASE_DOCUMENT_FILES] | BLT4 | BLT5 |
| LEASE_SCROLL_DATA | RDB17$DISK0:[LEASE_SCROLL_FILES] | BLT4 | BLT5 |
| LEASE_TAX_DATA | RDB3$DISK:[LEASE_TAX_FILES] | Unique on each cluster |
| LEASE_APPL_DATA | RDB4$DISK0:[LEASE_APPL_FILES] | BLT4 | BLT5 |
|  | Note |
| LEASE_APPL_ARCHIVE_DATA | RDB5$DISK0:[LEASE_ARCHIVE_FILES] | COPY OF OLD APPL_DATA |
| LEASE_ANALYSIS_DATA | RDB18$DISK0:[LEASE_ANALYSIS_FILES] |  |
| LEASE_PHONE_DATA | RDB8$DISK0:[LEASE_PHONE_FILES] | NO ACTIVITY |
| LEASE_REPLICATION_DATA | RDB20$DISK0:[LEASE_REPLICATION_FILES] | NO ACTIVITY |
| LEASE_REPORT_DATA | RDB9$DISK0:[LEASE_REPORT_FILES] | NO ACTIVITY |

### 1.8.3 "No Activity" Databases

| Database | Simple Copy | Complicated Copy |
| --- | --- | --- |
| Report | Tax | Analysis |
| Appl_Arch |  |  |
| Phone |  |  |
| Replication |  |  |
| CIP |  |  |
| ACH |  |  |

## 1.9 Vendor Support Numbers

HP Support – Hardware

SMS   781-891-8827

### Off-Site Storage Support - Iron Mountain

Support Number – 781-273-9500 ext. 0

Woburn Customer No. - 3962

### Oracle Support

Support Number - (415) 506-1500

| BLT4 - CSI 1096770 - |  |
| --- | --- |

### BUILDING ACCESS

Cummings Maintenance

(781) 935-9899

### AIR CONDITIONING and UPS

N Star – commercial - 800-340-9822

EEC

(888) 342-5332

### Phone Maintenance

Summatis

For the purpose of reporting a service related issues, Customer will call 508-656-1099 M-F, 8:00am-5:00pm, and 508-656-1100 M-S 5:00pm-8:00AM.

# 2. Disaster Scenario Checklists

The following checklists provide guidance for dealing with losses of service in a variety of different areas.

In This Section . . .

- 2.1 Power Loss

- 2.2 Network Loss

- 2.3 System Loss

- 2.4 Database Loss

- 2.5 Application Loss

## 2.1 Power Loss

### A. Woburn

[  ] Notify Owner of Building

[  ] Air Conditioning

[  ] Lights

[  ] Security key cards

B.1 [  ] Office Area

[  ] Notify Owner of Building

B.2 [  ] Computer Room

[  ] Notify Owner of Building

[  ] Air Conditioning out

[  ] UPS kicks in until room gets too hot

[  ] Fans  turned on manually

B.3 [  ] Phones

[  ] Internal

[  ] External

[  ] Pay Phone

[  ] Cell Phones

## 2.2 Network Loss

Refer to Appendix P for details.

### A. Woburn

B.1 [  ] Office Area

B.2 [  ] Computer Room

[  ] Woburn Clusters

[  ] BLT4/BLT6 Cluster

[  ] Cluster Node

[  ] Alpha – BLT4

[  ] VAX – BLT6

[  ] BLT5/BLT2 Cluster

[  ] Cluster Node

[  ] Alpha - BLT5

[  ] VAX - BLT2

[  ] BLT3/BLT1 Test Cluster

[  ] Cluster Node

[  ] Alpha – BLT3

[  ] VAX – BLT1

### C. Phones

C.1 [  ] Woburn

### D. Internet

D.1 [  ] Source Provider

D.2 [  ] Software

D.3 [  ] Hardware

## 2.3 System Loss

Refer to Appendix P for details.

### A. Cluster

A.1 [  ] Production: BLT4/BLT6 or BLT5/BLT2

[  ]  Single Node

A.1.1.1 [  ] Alpha Node

Name _____________

A.1.1.2 [  ]  VAX Node

Name _____________

A.2 [  ] Test: BLT3/BLT1

[  ] Single Node

A.2.1.1 [  ] Alpha Node

Name _____________

A.2.1.2 [  ] Vax Node

Name _____________

### B. Servers

B.1 [  ] Exchange Server

Name _____________

B.2 [  ] SQL Server

Name _____________

B.3 [  ] Web Server

Name _____________

B.4 [  ] Proxy Server

Name _____________

B.5 [  ] Firewall Server

Name _____________

### C. Hardware Down

C.1 [  ] Call Support

C.1.1 [  ] OpenVMS

[  ] Compaq Servers

[  ] Acquire Replacement Hardware from Inventory

[  ] Replace Hardware

[  ] Obtain Replacement from Vendor

C.1.2 [  ] Network Box

[  ] Compaq Servers

[  ] Acquire Replacement Hardware from Inventory

[  ] Replace Hardware

[  ] Obtain Replacement from Vendor

## 2.4 Database Loss

### A. Checklist

A.1 [  ] Corruption

A.1.1 [  ] Can't access a live database

[  ] Rmu/Verify database

Does it fail?

A.1.2 [  ] Can't access a standby database

[  ] Rmu/Verify standby database

Does it fail?

A.2 [  ] Disk Failure

[  ] Device down?

[  ] Controller down?

[  ] RAID set missing members?

### B. Solution

B.1 [  ] Corruption

B.1.1 [  ] Live Database

[  ] Verify logicals

[  ] Restore database from backup

[  ] Access database after restore

[  ] Rmu/Verify database

B.1.2 [  ] Standby Database - See Appendix M for details

[  ] Verify logicals

[  ] Restore standby database

[  ] Verify sequence numbers of AIJ journals

[  ] Adjust Access database

[  ] Apply AIJ files

[  ] Remake .RBF file locally

B.2 [  ] Disk Failure

[  ] Replace disk/controller

[  ] Rebuild Raid/Bound structure

[  ] Restore files from backup

## 2.5 Application Loss

[  ] ACMS

[  ] SQLSRV

[  ] PowerBuilder

[  ] Replication